
Agilio Dental Shop – Efficacy Data Sheet
Product: Pal® Medipal Alcohol Wipes (70% Isopropyl Alcohol)

Summary
Ready-to-use, low-lint wipes designed for intermediate disinfection of non-invasive medical devices and hard surfaces. Formulated with 70% isopropyl alcohol (IPA) for rapid antimicrobial action, fast drying, and no visible residue.

At a Glance
- PHMB-free and QUAT-free
- Fast-drying formula
- No visible residue
- Material compatibility: PMMA, PC, PE, PVC, waterproof fabrics, aluminium, 316 & 304 stainless steel
- Classification: Medical Device Class IIa (Notified Body 2797)

Efficacy (EN Standards)
Bactericidal:
- Enterococcus hirae (EN 16615 / 13727 / 14561) – 1 min
- Pseudomonas aeruginosa (EN 16615 / 13727 / 14561) – 1 min
- Staphylococcus aureus (EN 16615 / 13727 / 14561) – 1 min
- Escherichia coli (EN 13727) – 1 min

Mycobactericidal:
- Mycobacterium avium (EN 14348 / 14563) – 1 min
- Mycobacterium terrae (EN 14348 / 14563) – 1 min

Virucidal:
- Vaccinia virus (MVA) – EN 14476 – 30 sec
- Human Coronavirus – EN 14476 – 30 sec
- Murine Norovirus – EN 14476 – 1 min

Yeasticidal:
- Candida albicans (EN 16615 / 13624) – 1 min

Additional Organisms:
- Acinetobacter baumannii (EN 14561) – 30 sec
- MRSA / VRE (EN 14561) – 1 min

Directions for Use
1. Follow local risk assessment and PPE guidance.
2. Check alcohol compatibility before use.
3. Dispense wipe and close pack immediately.
4. Clean visible soil first, then disinfect with a new wipe.
5. Use S‑shape wiping motion; keep surface wet for required contact time.
6. Do not reuse wipes; single use only.
7. Allow surface to air dry completely.

Storage & Safety
- Use biocides safely; always read labels.
- Store in a cool, dry place away from sunlight.
- Not intended for endpoint sterilisation.

Reference
Pal International – Alcohol Wipes Data Sheet V13 (Sept 2025).





